# CITY OF FIFTY LAKES

# MINUTES OF THE PLANNING COMMISSION

SPECIAL MEETING

June 4, 2024     6:00 PM

- Call to order: 6:00 pm

- Roll Call:

Planning Commission:  Bob Stancer, Mike Milbrath,  Don Reierson, Fred Strohmeier and Gary Oster

Staff: Justin Burslie, Zoning Specialist; Jessica Istvanovich, Deputy Clerk.

City Council: Gary Staples

- Public Hearings:

  - V-01-24 to expand a pre-existing dwelling by adding a second story, 134 sf deck addition and 652 sf entryway addition all within the OHW level setback.

Property Address: 16886 North Eagle Lake Rd.

Property Owners/applicants: Laura & Peter Sandall

MOTION MADE BY MR. MILBRATH AND SECONDED BY MR. STANCER TO APPROVE V-01-24 WITH THE 13 FINDINGS OF FACT AND 2 CONDITIONS AS DISCUSSED:

FINDINGS OF FACT:

- The subject property is located at 16886 N. Eagle Lake Rd and is zoned “Shoreland Residential” (Eagle Lake- Recreational Development).

- The variance request is to construct an 8.9’ x 15’ (133.5 sf) deck, 48 sf covered entryway and additional story on a 24.4’ x 36.5’ (890.6 sf) pre-existing single-family dwelling.

- The single-family dwelling is considered a “pre-existing structure” because it was constructed before the establishment of the Shoreland Rules and is located 52.9’ from the OHW level of Eagle Lake (100 ft required.)

- The existing impervious surface coverage is 8.2% and the proposed impervious surface coverage is 10.2% (15% allowed).

- The pre-existing dwelling is served by a private water well and conforming subsurface sewage treatment system.

- The pre-existing dwelling is located 52.9 ft from the OHW level of Eagle Lake.  Per Minnesota Rules Chapter 6120.3300 Subpart 3 J, a 7.9 ft wide deck is allowed without a variance (52.9’ x .15 = 7.9’).  The request if for an 8.9 ft wide deck which is the same width as the pre-existing deck.

- The applicants have not provided the proposed height of the building, based on the city’s definition.

- The DNR has been notified of the request and has not provided any written comments.

- Will granting the variance put property to use in a reasonable manner not permitted by the zoning ordinance?

a.) Yes, the property will continue to be utilized for single family residential purposes.  There are no options to expand the pre-existing dwelling without a variance due to the location of the structure on the property.

- Does the property have unique circumstances that were not created by the landowner?

  - ) Yes, the dwelling may not be expanded to the north or south due to the location of bluff area on the property. The pre-existing dwelling was constructed prior to the establishment of the Shoreland Rules.

- If the variance is granted, will the essential character of the locality remain consistent?

  - ) Yes, constructing the addition(s) (with conditions) will not alter the essential character of the neighborhood.  The improvement(s) will be visible from the lake and right-of-way, however the proposed size of the dwelling/deck/entryway is consistent with other dwellings in the vicinity of the subject property.

- Will the variance, if granted, be consistent with the comprehensive plan and be in harmony with the purpose and intent of the City of Fifty Lakes ordinances?

  - ) Yes, the request, with conditions, is consistent with the purpose and intent of the zoning ordinance and the following goal in the comprehensive plan, “To preserve the natural character and environmental quality of the lakeshore and still allow reasonable use for property owners and the public.”

- Has the variance request been made based on reasons other than economic considerations alone?

a.) Yes, the request has been made on factors other than economic considerations.

CONDITIONS OF APPROVAL:

- A stormwater management plan meeting the requirements of Section 8.05, “Revegetation, stormwater management, and erosion control plans” of the Fifty Lakes Land Use Ordinance (enclosed), which includes gutters on the west side (lakeside) of the dwelling submitted prior to land use permit approval.  Stormwater shall be directed to a rain garden(s) and/or swale(s).  The stormwater management plan shall be reviewed/approved by the zoning administrator and shall be implemented in full within one month after completion of the project.

- A revegetation plan meeting the requirements of Section 8.04 and 8.05 shall be submitted prior to land   use permit.  The plan shall be designed by a landscape architect and approved by the zoning administrator and/or Planning Commission and shall be implemented upon completion of construction.

When polled: All members voted aye.  Motion carried

5. Approval of Minutes:

- January 23, 2024

MOTION MADE BY MR. STANCER AND SECONDED BY MR. STROHMEIER TO APPROVE MINUTES FROM THE JANUARY 23RD, 2024 MEETING AS PRESENTED. When polled: All members vote aye. Motion carried.

P&Z Administrator’s Report: Mr. Burslie reported 14 land use and 3 SSTS permits as of the June meeting.

MOTION BY MR. STANCER AND SECONDED BY MR. STROHMEIER TO ADJOURN.  Meeting adjourned at 6:55 PM.

___________________________________

Jessica Istvanovich, Deputy Clerk